UNIVERSITY OF
CALIFORNIA

---
Title Slide
RF Beam Dumps
Levon and Greg
Tune Measurements during RF failure using the new BPMs
22 April 2015

---
This is a Title and Content Slide Arial 32 pt
Things to consider during RF dump
Beam dump happens very fast
Only a few hundred turns available to analyze
Limited by FFT sampling accuracy
Beam energy loss
Energy deviation causes a tune shift
Beam excitation
Can't measure tune without beam excitation
Footer
$Q = Q_0 + \xi_1 (\frac{\Delta p}{p}) + \xi_2 (\frac{\Delta p}{p})^2 + ...$
[Speaker Notes: Because beam excitation is not ideal, we did not use NAFF, instead used FFT mesh to get amplitude data]

---
Simulated tune shift with RF dump
Section 1: Berkeley Lab Mission
SUBTITLE HERE IF NECESSARY
shift in tune space
Tune in pseudo-single bunch:
$Q_y = 9.25 \,\, Q_x = 16.18$
[Speaker Notes: Tune shift occurs with change in energy. Energy (delta P) starts to drop First line crossing is 2nd order]

---
Turns with shift
Energy with shift
Footer
[Speaker Notes: Energy diagram is moving to the left, not the right. 186 turns for 0.2 tune X 266 turns for 0.25 tune X 393 turns for 0.30 tune Y]

---
Time vs Frequency vs Amplitude

---
Qx vs Qy vs amplitude vs time
Qy
Qx
Repeat with every turn
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
...
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]
...
\[ \left \{ \begin{tabular}{ccccccc} 1 & 2 & 3 & 8 & 3 & 2 & 1 \\ 2 & 4 & & & & & \\ 3 & & 6 & & ...& &\\ 8 & & & 16 & & &\\ 3 & &... & & 6 & &\\ 2 & & & & & 2 &\\ 1 & & & & & & 1 \end{tabular} \right \} \]
\[ \left \{ \begin{tabular}{ccc} 1 \\ 2 \\ 3 \\ 8 \\ 3 \\ 2 \\ 1 \end{tabular} \right \} \]